|  |  |  |  |
| --- | --- | --- | --- |
| Location | Parameter | Average Value | Category |
| **Hazaribagh** | BOD | 13.485714 | Poor |
| COD | 47.353571 | Good |
| Cloride | 30.121726 | No Standard Found |
| DO | 2.413393 | Excellent |
| EC | 508.064286 | Good |
| SS | 43.489881 | Fair |
| T-Alkainity | 122.369048 | No Standard Found |
| TDS | 289.499405 | Excellent |
| Trurbidity | 36.528155 | No Standard Found |
| pH | 7.269464 | Excellent |
| **Kamrangir Char** | BOD | 18.006502 | Poor |
| COD | 52.923333 | Fair |
| Cloride | 32.704574 | No Standard Found |
| DO | 1.878897 | Excellent |
| EC | 406.123810 | Good |
| SS | 46.260150 | Fair |
| T-Alkainity | 88.454762 | No Standard Found |
| TDS | 293.601190 | Excellent |
| Trurbidity | 35.748095 | No Standard Found |
| pH | 7.277714 | Excellent |
|  | BOD | 11.917262 | Poor |
| COD | 42.660952 | Good |
| **Mirpur Bridge** | Cloride | 27.206726 | No Standard Found |
| DO | 2.613310 | Excellent |
| EC | 506.535714 | Good |
| SS | 40.106726 | Fair |
| T-Alkainity | 107.962500 | No Standard Found |
| TDS | 261.664286 | Excellent |
| Trurbidity | 38.515833 | No Standard Found |
| pH | 7.343750 | Excellent |