| Location | Parameter | Category | Range | Distribution | Percent |
| --- | --- | --- | --- | --- | --- |
| Hazaribag | BOD | Good | 7.6–8.4 | 22 | 100 |
| Hazaribag | BOD | Other | 0.8–57 | 146 | 100 |
| Hazaribag | COD | Good | 8–8 | 2 | 100 |
| Hazaribag | COD | Other | 0–226 | 166 | 100 |
| Hazaribag | Cloride | Good | 8–8 | 8 | 100 |
| Hazaribag | Cloride | Other | 2.3–144.5 | 160 | 100 |
| Hazaribag | DO | Other | 0.1–7.19 | 168 | 100 |
| Hazaribag | EC | Excellent | 107.5–243 | 68 | 100 |
| Hazaribag | EC | Fair | 750–1553 | 41 | 100 |
| Hazaribag | EC | Good | 250–746 | 59 | 100 |
| Hazaribag | SS | Good | 7.6–8 | 4 | 100 |
| Hazaribag | SS | Other | 5–168 | 164 | 100 |
| Hazaribag | T-Alkainity | Other | 5–320 | 168 | 100 |
| Hazaribag | TDS | Excellent | 54.8–299 | 97 | 100 |
| Hazaribag | TDS | Fair | 600–782 | 13 | 100 |
| Hazaribag | TDS | Good | 319–589 | 57 | 100 |
| Hazaribag | TDS | Poor | 1188–1188 | 1 | 100 |
| Hazaribag | Trurbidity | Good | 8–8.5 | 4 | 100 |
| Hazaribag | Trurbidity | Other | 3.55–232 | 164 | 100 |
| Hazaribag | pH | Excellent | 6.5–7.5 | 119 | 100 |
| Hazaribag | pH | Fair | 5.52–5.52 | 2 | 100 |
| Hazaribag | pH | Good | 6–8.26 | 47 | 100 |
| Kamrangir Char | BOD | Good | 7.8–8.2 | 10 | 100 |
| Kamrangir Char | BOD | Other | 0–132 | 158 | 100 |
| Kamrangir Char | COD | Good | 8–8 | 1 | 100 |
| Kamrangir Char | COD | Other | 4–283 | 167 | 100 |
| Kamrangir Char | Cloride | Good | 7.86–8.5 | 11 | 100 |
| Kamrangir Char | Cloride | Other | 1–444 | 157 | 100 |
| Kamrangir Char | DO | Other | 0–7.24 | 168 | 100 |
| Kamrangir Char | EC | Excellent | 5–244 | 70 | 100 |
| Kamrangir Char | EC | Fair | 765–1510 | 23 | 100 |
| Kamrangir Char | EC | Good | 253–738 | 75 | 100 |
| Kamrangir Char | SS | Good | 8–8 | 2 | 100 |
| Kamrangir Char | SS | Other | 1–143 | 166 | 100 |
| Kamrangir Char | T-Alkainity | Other | 2–738 | 168 | 100 |
| Kamrangir Char | TDS | Excellent | 9–299 | 83 | 100 |
| Kamrangir Char | TDS | Fair | 617–748 | 5 | 100 |
| Kamrangir Char | TDS | Good | 300–597 | 80 | 100 |
| Kamrangir Char | Trurbidity | Good | 7.7–8.15 | 13 | 100 |
| Kamrangir Char | Trurbidity | Other | 1.25–512 | 155 | 100 |
| Kamrangir Char | pH | Excellent | 6.5–7.5 | 133 | 100 |
| Kamrangir Char | pH | Good | 6.05–8.17 | 35 | 100 |
| Mirpur Bridge | BOD | Good | 8–8.4 | 15 | 100 |
| Mirpur Bridge | BOD | Other | 0–56 | 153 | 100 |
| Mirpur Bridge | COD | Other | 0–128 | 168 | 100 |
| Mirpur Bridge | Cloride | Good | 7.6–8.5 | 16 | 100 |
| Mirpur Bridge | Cloride | Other | 2.1–138.5 | 152 | 100 |
| Mirpur Bridge | DO | Other | 0.2–6.79 | 168 | 100 |
| Mirpur Bridge | EC | Excellent | 107.5–244 | 68 | 100 |
| Mirpur Bridge | EC | Fair | 750–1587 | 42 | 100 |
| Mirpur Bridge | EC | Good | 250–745 | 58 | 100 |
| Mirpur Bridge | SS | Good | 7.6–8 | 6 | 100 |
| Mirpur Bridge | SS | Other | 2–150 | 162 | 100 |
| Mirpur Bridge | T-Alkainity | Good | 7.6–8 | 2 | 100 |
| Mirpur Bridge | T-Alkainity | Other | 5–350 | 166 | 100 |
| Mirpur Bridge | TDS | Excellent | 54.8–299 | 102 | 100 |
| Mirpur Bridge | TDS | Fair | 618–782 | 8 | 100 |
| Mirpur Bridge | TDS | Good | 300–596 | 58 | 100 |
| Mirpur Bridge | Trurbidity | Good | 8–8 | 1 | 100 |
| Mirpur Bridge | Trurbidity | Other | 1.2–428 | 167 | 100 |
| Mirpur Bridge | pH | Excellent | 6.5–7.5 | 109 | 100 |
| Mirpur Bridge | pH | Good | 6.2–8.31 | 58 | 100 |
| Mirpur Bridge | pH | Poor | 5.36–5.36 | 1 | 100 |